< 첨부>

	Description	Quantity
Lot 1	HT Concrete Poles - 10.36m Length	6,000 No.
Lot 2	50 KVA SP 3-Phase Distribution Transformers	2,500 No.
Lot 3	100㎟ Bare Aluminum Conductor 70㎟ XLPE 11KV Insulated Cable LT 4-Core 25㎟ Aerial Bunched Cable	800,000m 200,000m 120,000m
Lot 4	Fibre Glass Cross Arm Angle Iron 100 x 50 x 10 x 2100mm Channel Iron 100 x 50 x 50 x 10 x 2100mm 35㎟ Copper Bare Conductor Earth Rods Earth Mats	10,000 No. 1,000 No. 5,000 No. 100,000m 10,000 No. 2,500 No.
Lot 5	Drop-Out Fuse Cut-Out Complete with Fuse Links 3 Amps Drop-Out Fuse Links LV Distribution Box – 3 phase LV HRC Fuses – 40 Amps	5,000 Sets of Three 40,000 No. 2,500 No. 40,000 No.
Lot 6	11KV Lightning Arresters 33KV Lightning Arresters 11KV Transition Joints	500 Sets of Three 50 Sets of Three 200 Sets